## LOB1257
| Ementa atual: | Ementa modificada (dados modificados em vermelho):
| LOB1257 | LOB1257
Nome: | Sistema de Abastecimento e Tratamento de Água | Sistema de Abastecimento e Tratamento de Água
Name: | Systems of Water Supply and Treatment | Systems of Water Supply and Treatment
Créditos-aula: | 4 | 4
Créditos-trabalho | 0 | 0
Carga horária: | 60 h | 60 h
Ativação: | 01/01/2022 | 01/01/2022
Semestre ideal: | EA-8 | EA-8
Objetivos: | 7455355 - Robson da Silva Rocha | 7455355 - Robson da Silva Rocha
Objectives: | Supply the students the basic knowledge of the systems of water supply and the water treatment technologies for the human consumption. | Supply the students the basic knowledge of the systems of water supply and the water treatment technologies for the human consumption.
Docentes responsáveis:
Programa resumido: | Semestral | Semestral
Short syllabus: | Systems of Water Supply; Water Treatment Technologies; Water Treatment in Complete Cycle; Disinfection, Direct Ascendant Filtration; Direct Descendant Filtration, Floto-filtration; Filtration in Multiple Levels, Treatment of the Generated Waste in the Water Treatment Stations. | Systems of Water Supply; Water Treatment Technologies; Water Treatment in Complete Cycle; Disinfection, Direct Ascendant Filtration; Direct Descendant Filtration, Floto-filtration; Filtration in Multiple Levels, Treatment of the Generated Waste in the Water Treatment Stations.
Programa: | 01/01/2022 | 01/01/2022
Syllabus: | - Types of dimensioning of water distribution networks;- Water characteristics of interest for treatment: physical, chemical and bacteriological characteristics;- Potability Standard;- Water Treatment Technologies;- Constituent Units of a Water Supply System;- Groundwater Catchment and Surface Water Catchment- Railing, sand removal, pump room;- Reservation;- Distribution networks: types of network, parts and accessories;- Full Cycle Water Treatment System;- Coagulation-flocculation and Rapid Mixing;- Decantation: conventional and high rate decantation and sludge removal system;- Filtration mechanisms, filter materials and filter bottoms, filtration hydraulics, filtration with constant rate and declining rate,- Disinfection: main disinfectants, chlorination and chlor-ammonia, pre and post-chlorination,- Treatment of waste generated at stations and reuse of recovered water | - Types of dimensioning of water distribution networks;- Water characteristics of interest for treatment: physical, chemical and bacteriological characteristics;- Potability Standard;- Water Treatment Technologies;- Constituent Units of a Water Supply System;- Groundwater Catchment and Surface Water Catchment- Railing, sand removal, pump room;- Reservation;- Distribution networks: types of network, parts and accessories;- Full Cycle Water Treatment System;- Coagulation-flocculation and Rapid Mixing;- Decantation: conventional and high rate decantation and sludge removal system;- Filtration mechanisms, filter materials and filter bottoms, filtration hydraulics, filtration with constant rate and declining rate,- Disinfection: main disinfectants, chlorination and chlor-ammonia, pre and post-chlorination,- Treatment of waste generated at stations and reuse of recovered water
Avaliação:
Método: | 7455355 - Robson da Silva Rocha | 7455355 - Robson da Silva Rocha
Critério: | Avaliação baseada em provas, exercícios, trabalhos práticos e relatórios. | Avaliação baseada em provas, exercícios, trabalhos práticos e relatórios.
Norma de recuperação: | Média ponderada das notas atribuídas às provas, exercícios e trabalhos práticos e relatórios. | Média ponderada das notas atribuídas às provas, exercícios e trabalhos práticos e relatórios.
Bibliografia: | 1 (uma) prova de recuperação (R), sendo considerado aprovado se 0,5(NF + R) >= 5,0. | 1 (uma) prova de recuperação (R), sendo considerado aprovado se 0,5(NF + R) >= 5,0.
Requisitos:
| LOB1212 - Química Analítica Ambiental II (Requisito fraco) | LOB1212 - Química Analítica Ambiental II (Requisito fraco)
| LOB1258 - Hidráulica Aplicada (Requisito fraco) | LOB1258 - Hidráulica Aplicada (Requisito fraco)