## LOQ4009
| Ementa atual: | Ementa modificada (dados modificados em vermelho):
| LOQ4009 | LOQ4009
Nome: | Instrumentação na Industria Química | Instrumentação na Industria Química
Name: | Chemical Industry Instrumentation | Chemical Industry Instrumentation
Créditos-aula: | 4 | 4
Créditos-trabalho | 0 | 0
Carga horária: | 60 h | 60 h
Ativação: | 01/01/2016 | 01/01/2016
Semestre ideal: | EQD-5,EQN-9 | EQD-5,EQN-9
Objetivos: | 5840643 - Luiz Carlos de Queiroz | 5840643 - Luiz Carlos de Queiroz
Objectives: | To present the fundamentals of control process. To present the instruments to pressure measurement, temperature, level and flow, and devices of process automation systems. | To present the fundamentals of control process. To present the instruments to pressure measurement, temperature, level and flow, and devices of process automation systems.
Docentes responsáveis:
Programa resumido: | Semestral | Semestral
Short syllabus: | Introduction to automatic process control. Symbology. Pressure measurement. Temperature measurement. Level measurement. Flow measurement. Controllers. Final control element. Transmission. Systems automation of industrial processes. | Introduction to automatic process control. Symbology. Pressure measurement. Temperature measurement. Level measurement. Flow measurement. Controllers. Final control element. Transmission. Systems automation of industrial processes.
Programa: | 01/01/2016 | 01/01/2016
Syllabus: | 1- INTRODUCTION TO AUTOMATIC PROCESS CONTROL. - Introduction. - Open-loop system and closed-loop system. - Symbology. - Feedback control. - Block diagrams. - Transfer function. - Notions of step response of first order process. 2- PRESSURE MEASUREMENT. - Liquid-column methods. Elastic element methods. - Electrical methods. 3- TEMPERATURE MEASUREMENT. - Thermocouples. - Resistance thermometers. - Filled-system thermometers. - Bimetal thermometers. - Liquid-in-glass thermometers. - Pyrometers. 4- LEVEL MEASUREMENT. - Float-actuated devices. - Pressure devices. 5- FLOW MEASUREMENT. - Orifice meter, Venturi meter, rotameter. - Magnetic flowmeters. - Coriolis mass flowmeters. 6- CONTROLLERS. - On/off control, proportional control, proportional-plus- integral control, proportional-plus-integral-plus-derivative control. - Programmable logic controller. 7- FINAL CONTROL ELEMENT. - Control valves. 8- TRANSMISSION. - Signal transmission. 9- SYSTEMS INDUSTRIAL PROCESS AUTOMATION. | 1- INTRODUCTION TO AUTOMATIC PROCESS CONTROL. - Introduction. - Open-loop system and closed-loop system. - Symbology. - Feedback control. - Block diagrams. - Transfer function. - Notions of step response of first order process. 2- PRESSURE MEASUREMENT. - Liquid-column methods. Elastic element methods. - Electrical methods. 3- TEMPERATURE MEASUREMENT. - Thermocouples. - Resistance thermometers. - Filled-system thermometers. - Bimetal thermometers. - Liquid-in-glass thermometers. - Pyrometers. 4- LEVEL MEASUREMENT. - Float-actuated devices. - Pressure devices. 5- FLOW MEASUREMENT. - Orifice meter, Venturi meter, rotameter. - Magnetic flowmeters. - Coriolis mass flowmeters. 6- CONTROLLERS. - On/off control, proportional control, proportional-plus- integral control, proportional-plus-integral-plus-derivative control. - Programmable logic controller. 7- FINAL CONTROL ELEMENT. - Control valves. 8- TRANSMISSION. - Signal transmission. 9- SYSTEMS INDUSTRIAL PROCESS AUTOMATION.
Avaliação:
Método: | 5840643 - Luiz Carlos de Queiroz | 5840643 - Luiz Carlos de Queiroz
Critério: | Duas provas escritas: P1 e P2. | Duas provas escritas: P1 e P2.
Norma de recuperação: | Média das notas obtidas nas duas provas: N1 = (P1 + P2)/2. | Média das notas obtidas nas duas provas: N1 = (P1 + P2)/2.
Bibliografia: | Uma prova escrita: REC. / Média das notas N1 e REC: N2 = (N1 + REC)/2. | Uma prova escrita: REC. / Média das notas N1 e REC: N2 = (N1 + REC)/2.
Requisitos:
| LOB1006 - Cálculo IV (Requisito fraco) | LOB1006 - Cálculo IV (Requisito fraco)
| LOQ4083 - Fenômenos de Transporte I (Requisito fraco) | LOQ4083 - Fenômenos de Transporte I (Requisito fraco)